## SelectedObjects
Type | Documentation | Attribute Association role Constraint | Attribute Association role Constraint documentation | Values/ Enumerations | Multiplicity | Voidable/ Non-voidable | Type | Documentation | Attribute Association role Constraint | Attribute Association role Constraint documentation | Valuetype | Multiplicity | Voidable/ Non-voidable | Status | Remarks
Application Schema 'Electricity Network' (version 4.0) | [6 empty] | Application Schema <provide the name of the application schema>
Electricity Cable Subtype of: Cable | -- Definition -- A utility link or link sequence used to convey electricity from one location to another. | operating Voltage | The utilization or operating voltage by the equipment using the electricity. | Measure | 1 | voidable
|  | nominal Voltage | The nominal system voltage at the point of supply. | Measure | 1 | voidable
|  | utility Delivery Type - UtilityLinkSet | Kind of utility delivery network e.g. transport, distribution, collection ... | UtilityDeliveryTypeValue | 0...1 | voidable
|  | warning Type - UtilityLinkSet | Kind of overground visible warning mechanism used to indicate an underground utility network element. | WarningTypeValue | 1 | voidable
|  | current Status - UtilityNetworkElement | The status of an utility object with regards to its completion and use. | ConditionOfFacilityValue | 1 | voidable
|  | valid From - UtilityNetworkElement | The time when the utility network element started to exist in the real world. | DateTime | 1 | voidable
|  | valid To - UtilityNetworkElement | The time from which the utility network element no longer exists in the real world. | DateTime | 0...1 | voidable
|  | vertical Position - UtilityNetworkElement | Vertical position of the utility object relative to ground. | VerticalPositionValue | 1 | voidable
|  | utility Facility Reference - UtilityNetworkElement | Reference to a facility activity complex that is linked (related) to this utility network element. | ActivityComplex | 0...1 | voidable
|  | governmental Service Reference - UtilityNetworkElement | Reference to a governmental service object that is linked (related) to this utility network element. | GovernmentalService | 0...1 | voidable
|  | begin Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was inserted or changed in the spatial data set. | DateTime | 1 | lifeCycleInfo
|  | inspire Id - NetworkElement | External object identifier of the spatial object. | Identifier | 0...1
|  | end Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was superseded or retired in the spatial data set. | DateTime | 0...1 | lifeCycleInfo
Application Schema 'Common Utility Network Elements' (version 4.0) | [6 empty] | Application Schema <provide the name of the application schema>
Cable Subtype of: UtilityLinkSet | -- Definition -- A utility link or link sequence used to convey electricity or data from one location to another. | utility Delivery Type - UtilityLinkSet | Kind of utility delivery network e.g. transport, distribution, collection ... | UtilityDeliveryTypeValue | 0...1 | voidable
|  | warning Type - UtilityLinkSet | Kind of overground visible warning mechanism used to indicate an underground utility network element. | WarningTypeValue | 1 | voidable
|  | current Status - UtilityNetworkElement | The status of an utility object with regards to its completion and use. | ConditionOfFacilityValue | 1 | voidable
|  | valid From - UtilityNetworkElement | The time when the utility network element started to exist in the real world. | DateTime | 1 | voidable
|  | valid To - UtilityNetworkElement | The time from which the utility network element no longer exists in the real world. | DateTime | 0...1 | voidable
|  | vertical Position - UtilityNetworkElement | Vertical position of the utility object relative to ground. | VerticalPositionValue | 1 | voidable
|  | utility Facility Reference - UtilityNetworkElement | Reference to a facility activity complex that is linked (related) to this utility network element. | ActivityComplex | 0...1 | voidable
|  | governmental Service Reference - UtilityNetworkElement | Reference to a governmental service object that is linked (related) to this utility network element. | GovernmentalService | 0...1 | voidable
|  | begin Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was inserted or changed in the spatial data set. | DateTime | 1 | lifeCycleInfo
|  | inspire Id - NetworkElement | External object identifier of the spatial object. | Identifier | 0...1
|  | end Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was superseded or retired in the spatial data set. | DateTime | 0...1 | lifeCycleInfo
Utility Link Set Subtype of: UtilityNetworkElement LinkSet | -- Definition -- <font color="#1a1a1a">An abstract utility network class which groups common properties of Cable, Pipe and Duct featureTypes.</font> -- Description -- <font color="#1a1a1a">This class also extends the LinkSet featureType, which allows Cable, Pipe and Duct classes to use either the (more complex) LinkSequence or (more simple) Link class.</font> | utility Delivery Type | Kind of utility delivery network e.g. transport, distribution, collection ... | UtilityDeliveryTypeValue | 0...1 | voidable
|  | warning Type | Kind of overground visible warning mechanism used to indicate an underground utility network element. | WarningTypeValue | 1 | voidable
|  | current Status - UtilityNetworkElement | The status of an utility object with regards to its completion and use. | ConditionOfFacilityValue | 1 | voidable
|  | valid From - UtilityNetworkElement | The time when the utility network element started to exist in the real world. | DateTime | 1 | voidable
|  | valid To - UtilityNetworkElement | The time from which the utility network element no longer exists in the real world. | DateTime | 0...1 | voidable
|  | vertical Position - UtilityNetworkElement | Vertical position of the utility object relative to ground. | VerticalPositionValue | 1 | voidable
|  | utility Facility Reference - UtilityNetworkElement | Reference to a facility activity complex that is linked (related) to this utility network element. | ActivityComplex | 0...1 | voidable
|  | governmental Service Reference - UtilityNetworkElement | Reference to a governmental service object that is linked (related) to this utility network element. | GovernmentalService | 0...1 | voidable
|  | begin Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was inserted or changed in the spatial data set. | DateTime | 1 | lifeCycleInfo
|  | inspire Id - NetworkElement | External object identifier of the spatial object. | Identifier | 0...1
|  | end Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was superseded or retired in the spatial data set. | DateTime | 0...1 | lifeCycleInfo
|  | All utility link objects have inspireId | /* All utility link objects have an external object identifier. */inv:inspireId->notEmpty()
|  | link - from Link Set | -- Definition -- Abstract base type representing a linear network element that may be used as a target in linear referencing. | Generalised Link (See Association) | 1..*

## Associations
Type | Documentation | Attribute Association role Constraint | Attribute Association role Constraint documentation | Values/ Enumerations | Multiplicity | Voidable/ Non-voidable | Type | Documentation | Attribute Association role Constraint | Attribute Association role Constraint documentation | Valuetype | Multiplicity | Voidable/ Non-voidable | Status | Remarks
Associated objects - Mandatory | [6 empty] | Associated objects - Mandatory <provide the name of your objects>
Generalised Link Subtype of: NetworkElement | -- Definition -- Abstract base type representing a linear network element that may be used as a target in linear referencing. | begin Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was inserted or changed in the spatial data set. | DateTime | 1 | lifeCycleInfo
|  | inspire Id - NetworkElement | External object identifier of the spatial object. | Identifier | 0...1
|  | end Lifespan Version - NetworkElement | Date and time at which this version of the spatial object was superseded or retired in the spatial data set. | DateTime | 0...1 | lifeCycleInfo

## ComplexTypes
Type | Documentation | Attribute Association role Constraint | Attribute Association role Constraint documentation | Values/ Enumerations | Multiplicity | Voidable/ Non-voidable | Type | Documentation | Attribute Association role Constraint | Attribute Association role Constraint documentation | Valuetype | Multiplicity | Voidable/ Non-voidable | Status | Remarks
ComplexTypes | [6 empty] | ComplexTypes <provide the name of your objects>
Activity Complex | -- Definition -- A "single unit", both technically and economically, under the management control of the same legal entity (operator), covering activities as those listed in the Eurostat NACE classification, products and services. Activity Complex includes all infrastructure, equipment and materials. It must represent the whole area, at the same or different geographical location, managed by a "single unit". -- Description -- NOTE 1 This class describes the minimal set of elements necessary to describe and identify geographically a legal entity and the activities taken place on it under the context of a Environmental purposes.NOTE 2 "Activity Complex" could be assimilated to terms described on the legislation as Facility, Establishment, Plant, Holding, Organization ,Farm, Extractive Industries or Aquaculture Production Business among othersEXAMPLE i.e. an Agro-business that is legally registered under the Emissions Directive. | inspire Id | External object identifier of the ?ctivity Complex? | Identifier | 1
|  | thematic Id | Thematic Activity Complex identifier. | ThematicIdentifier | 0...*
|  | name | Descriptive name of the &ldquo;Activity Complex&rdquo;. | CharacterString | 0...1 | voidable
|  | geometry | The geometry used to define the extent or position of the ?ctivity Complex? | GM_Object | 1
|  | function | Activities performed by the activity complex. Function is described by the activity and potentially complemented with information about inputs and outputs as result of it. | Function | 1...*
|  | valid From | The time when the activity complex started to exist in the real world. | DateTime | 1 | voidable
|  | valid To | The time when the activity complex no longer exists in the real world. | DateTime | 0...1 | voidable
|  | begin Lifespan Version | Date and time at which this version of the spatial object was inserted or changed in the spatial data set. | DateTime | 1 | voidable
|  | end Lifespan Version | Date and time at which this version of the spatial object was superseded or retired in the spatial data set. | DateTime | 0...1 | voidable
Measure | -- Definition -- The result from performing the act or process of ascertaining the extent, dimensions, or quantity of some entity.A measure is always associated to a unit of measure. Ratio measures where the two base measures are in the same units (often considered unit-less) should be associated to UnitOfMeasure (same meter/meter for map scale) so that conversions to non-unitless ratios can be accomplished (such as miles/inch). | value
Identifier | -- Definition -- External unique object identifier published by the responsible body, which may be used by external applications to reference the spatial object. -- Description -- NOTE1 External object identifiers are distinct from thematic object identifiers.NOTE 2 The voidable version identifier attribute is not part of the unique identifier of a spatial object and may be used to distinguish two versions of the same spatial object.NOTE 3 The unique identifier will not change during the life-time of a spatial object. | local Id | A local identifier, assigned by the data provider. The local identifier is unique within the namespace, that is no other spatial object carries the same unique identifier. | CharacterString | 1
|  | namespace | Namespace uniquely identifying the data source of the spatial object. | CharacterString | 1
|  | version Id | The identifier of the particular version of the spatial object, with a maximum length of 25 characters. If the specification of a spatial object type with an external object identifier includes life-cycle information, the version identifier is used to distinguish between the different versions of a spatial object. Within the set of all versions of a spatial object, the version identifier is unique. | CharacterString | 0...1 | lifeCycleInfo
Governmental Service | -- Definition -- Administrative and social governmental services such as public administrations, civil protection sites, schools and hospitals provided by Public Administrative Bodies or by private institutions as far as they are covered by the scope of the INSPIRE directive. This scope is mapped to the values of the corresponding code list serviceType Value. -- Description -- The accordant sites are commonly presented in governmental and municipal portals and map systems as "point of interest"-data, and may be point-based locations of a variety of categories of municipal and governmental services and social infrastructure. The spatial object type itself is generic in terms of the modelling approach, that the concrete type of a GovernmentalService is determined by the value of the attribute serviceType. | area Of Responsibility | The spatial responsibility of a service instance. | AreaOfResponsibilityType | 0...1 | voidable
|  | begin Lifespan Version | Date and time at which this version of the spatial object was inserted or changed in the spatial data set. | DateTime | 1 | lifeCycleInfo
|  | end Lifespan Version | Date and time at which this version of the spatial object was superseded or retired in the spatial data set. | DateTime | 0...1 | lifeCycleInfo
|  | inspire Id | External object identifier of the governmental service. | Identifier | 1
|  | point Of Contact | Contains necessary information to get access to a service and/or initial information regarding a service. | Contact | 1...* | voidable
|  | service Location | Location where the service is offered. | ServiceLocationType | 1
|  | service Type | Type of an administrative and governmental service. | ServiceTypeValue | 1
|  | endLifespanVersion | /* If set, the date endLifespanVersion shall be later than beginLifespanVersion. */inv: self.endLifespanVersion .isAfter(self.beginLifespanVersion)
Date Time Subtype of: Date ClockTime |  | century - Date |  | CharacterString | 1
|  | year - Date |  | CharacterString | 0...1
|  | month - Date |  | CharacterString | 0...1
|  | day - Date |  | CharacterString | 0...1
|  | hour - ClockTime |  | CharacterString | 1
|  | minute - ClockTime |  | CharacterString | 0...1
|  | second - ClockTime |  | CharacterString | 0...1
|  | time Zone - ClockTime |  | CharacterString | 0...1
Thematic Identifier | -- Definition -- Thematic identifier to uniquely identify the spatial object. -- Description -- Some spatial objects may be assigned multiple unique identifiers. These may have been established to meet data exchange requirements of different reporting obligations at International, European or national levels and/or internal data maintenance requirements. | identifier | Unique identifier used to identify the spatial object within the specified identification scheme. | CharacterString | 1
|  | identifier Scheme | Identifier defining the scheme used to assign the identifier. | CharacterString | 1
Function | -- Definition -- The function of something expressed as an activity and optional input and/or output. -- Description -- NOTE Depending on the scope it can refer to different activities (co-incineration, Collection, exploration, incineration, interim disposal, management, recycling, primary production, primary treatment, recovery , recycling, release, storage, use, waste management, etc) and Inputs and Outputs (sludge, substance, tailings, technical products, urban waste water, volatile organic compound, waste, WEEE from private households, etc). | activity | Categorized description of individual or organized set of technically related processes that are carried out by a economical unit, private or public, profit or non profit character. | EconomicActivityValue | 1...*
|  | input | A classified or registered type of material or something immaterial, that enters a technical and economical unit according to its function. | InputOutputValue | 0...* | voidable
|  | output | A classified or registered type of material or something immaterial, that leaves a technical and economical unit according to its function, ". | InputOutputValue | 0...* | voidable
|  | description | A more detailed description of the function. | PT_FreeText | 0...1 | voidable
Service Location Type | -- Definition -- Set of types of references to locate a service. | service Location By Address | Location of the service by referring to an address. | Address | 1
|  | service Location By Building | Location of the service by referring to a building. | Building | 1...*
|  | service Location By Activity Complex | Location of the service by referring to an activity complex. | ActivityComplex | 1
|  | service Location By Geometry | Location of the service by referring to a geometry. | GM_Object | 1
|  | service Location By Utility Node | Location of the service by referring to a node related to a utility network (water, telecommunication, etc.), e.g. hydrant or emergency call point. | UtilityNode | 1
GM_Object | -- Definition -- GM_Object (Figure 6) is the root class of the geometric object taxonomy and supports interfaces common to all geographically referenced geometric objects. GM_Object instances are sets of direct positions in a particular coordinate reference system. A GM_Object can be regarded as an infinite set of points that satisfies the set operation interfaces for a set of direct positions, TransfiniteSet<DirectPosition>. Since an infinite collection class cannot be implemented directly, a Boolean test for inclusion shall be provided by the GM_Object interface. This international standard concentrates on vector geometry classes, but future work may use GM_Object as a root class without modification.NOTE As a type, GM_Object does not have a well-defined default state or value representation as a data type. Instantiated subclasses of GM_Object will. | boundary().isEmpty() = isCycle()
boundary().notEmpty() implies boundary().dimension() = dimension() -1
dimension() > boundary().dimension
Character String Subtype of: Sequence<Character> |  | character Set |  | CharacterSetCode | 1
|  | elements |  | Character | size
|  | max Length |  | Integer | 1
|  | size |  | Integer | 1
Area Of Responsibility Type | -- Definition -- Set of types for the description of spatial responsibility. | area Of Responsibility By Named Place | Geographical object describing the geographic extent of the responsibility of a service. | NamedPlace | 1...*
|  | area Of Responsibility By Administrative Unit | Administrative unit describing the geographic extent of the responsibility of a service. | AdministrativeUnit | 1...*
|  | area Of Responsibility By Network | Part of a network describing the geographic extent of the competence of a service. | NetworkReference | 1...*
|  | area Of Responsibility By Polygon | Polygon describing the geographic extent of the responsibility of a service. | GM_MultiSurface | 1
Contact | -- Definition -- Communication channels by which it is possible to gain access to someone or something. | address | An address provided as free text. | AddressRepresentation | 0...1 | voidable
|  | contact Instructions | Supplementary instructions on how or when to contact an individual or organisation. | PT_FreeText | 0...1 | voidable
|  | electronic Mail Address | An address of the organisation's or individual's electronic mailbox. | CharacterString | 0...1 | voidable
|  | hours Of Service | Periods of time when the organisation or individual can be contacted. | PT_FreeText | 0...1 | voidable
|  | telephone Facsimile | Number of a facsimile machine of the organisation or individual. | CharacterString | 0...* | voidable
|  | telephone Voice | Telephone number of the organisation or individual. | CharacterString | 0...* | voidable
|  | website | Pages provided on the World Wide Web by the organisation or individual. | URL | 0...1 | voidable

## CodeListEnumeration
Type | Documentation | Value | Value documentation | Type | Documentation | Value | Value documentation | Status | Remarks
Code List / Enumeration |  |  |  | Code List /Enumeration <provide the name of your objects>
Utility Delivery Type Value | -- Definition -- Classification of utility delivery types. | collection | Description of a type of utility network delivering its utility product via collection (e.g. for sewer utility networks, collecting sewer water from customers)
|  | distribution | Description of a type of utility network delivering its utility product via mainly local distribution (e.g. local distribution of electricity), co<br/>ecting directly to consumers
|  | private | Description of a type of utility network delivering its utility product via a small private network (e.g. owned by a private company)
|  | transport | Description of a type of utility network delivering its utility product via a large transport network (e.g. to convey oil-gas-chemicals products over larger distances)
Warning Type Value | -- Definition -- Classification of warning types. | net | Warning net for protection of cables and pipes.
|  | tape | Caution tape (also known as warning tape) is a resilient plastic tape of a signal colour or highly contrasting colour combination (such as yellow-black or red-white).
|  | concrete paving | A set or paving of pavers or tiles in concrete material covering cables or pipes.
Condition Of Facility Value | -- Definition -- The status of a facility with regards to its completion and use. | functional | The facility is functional.
|  | projected | The facility is being designed. Construction has not yet started.
|  | under construction | The facility is under construction and not yet functional. This applies only to the initial construction of the facility and not to maintenance work.
|  | disused | The facility is no longer used, but is not being or has not been decommissioned.
|  | decommissioned | The facility is no longer used and is being or has been decommissioned.
Vertical Position Value | -- Definition -- The relative vertical position of a spatial object. | on Ground Surface | The spatial object is on ground level.
|  | suspended Or Elevated | The spatial object is suspended or elevated.
|  | underground | The spatial object is underground.
Service Type Value | -- Definition -- Codelist containing a classification of governmental services. | public administration office | Public administration offices (not further differentiated).
|  | public order and safety | Services concerned with public order and safety.
|  | environmental protection | Services concerned with the administration, supervision, inspection, operation or support of activities relating to the protection and conservation of the environment.
|  | health | Services concerned with health issues.
|  | specialized hospital | Hospital services that limit their services to a particular medical speciality.
|  | general hospital | Hospital services that do not limit their services to a particular medical speciality.
|  | specialized medical services | Specialized medical services delivered by specialized medical clinics and specialist medical practitioners. Specialized medical clinics and specialist medical practitioners differ from general medical clinics and general medical practitioners in that their services are limited to treatment of a particular condition, disease, medical procedure or class of patient.
|  | paramedical service | Provision of paramedical health services to outpatients;
|  | specialized administration office | Specialized administration offices which can not be allocated to the following areas: social service, education, health, environmental protection, public order and safety (e. g. surveying administration).
|  | general administration office | General administration offices, e.g. town halls.
|  | administration for public order and safety | Administration offices concerned with public order and safety.
|  | fire-protection service | Services concerned with fire-prevention and fire-fighting affairs; operation of regular and auxiliary fire brigades and of other fire-prevention and fire-fighting services maintained by public authorities; operation or support of fire-prevention and fire-fighting training programmes.
|  | police service | Services concerned with police affairs.
|  | siren | Stationary device, often electrically operated, for producing a penetrating sound for warning the public.
|  | fire station | Services concerned with a station housing fire fighters, their equipment and vehicles.
|  | barrack | Services concerned with the provision of buildings used especially for lodging soldiers in garrison.
|  | defence | Services concerned with military defence.
|  | camp | Place usually away from urban areas where tents or simple buildings (as cabins) are erected for shelter or for temporary residence or instruction of military forces.
|  | environmental education centre | Institution engaged in developing programs and material to increase awareness about the environment and sustainable development.
|  | administration for environmental protection | Administration offices concerned with environmental protection.
|  | administration for health | This item comprises establishments primarily engaged in the regulation of activities of agencies that provide health care and overall administration of health policy.
|  | medical products, appliances and equipment | Services concerned with medicaments, prostheses, medical appliances and equipment and other health-related products obtained by individuals or households, either with or without a prescription, usually from dispensing chemists, pharmacists or medical equipment suppliers. They are intended for consumption or use outside a health facility or institution.
|  | fire detection and observation site | Location, facility, construction or device for the detection and observation of fires.
|  | anti-fire water provision | Location, installation or designated area from where water for fire-fighting is provided.
|  | hydrant | Special water access points of water supply networks that are specifically designed and built to serve as on-site water sources for fire fighting and other emergency services.
|  | marine rescue station | Services on the coast providing buildings, mooring areas or piers to host marine rescue teams and their equipment, boats and other marine crafts.
|  | Rescue helicopter landing site | A designated area from which rescue helicopters can take off and land.
|  | rescue station | Services concerned with the housing of technical staff, equipment and auxiliary elements of land rescue teams.
|  | rescue service | Services dedicated to the search-and-rescue of people, animals and goods in emergency situations.
|  | standalone First Aid equipment | First Aid element or set of elements or equipment made available to anyone who may need them, located in highly visible and accessible places.
|  | emergency call point | Location of telephones in a box or on a post for the use of motorists in the event of an emergency situation.
|  | civil protection site | Site offering protection and shelter from disasters and emergency situations to the civilian population.
|  | education | Services concerned with educational affairs. These services include military schools and colleges where curricula resemble those of civilian institutions, police colleges offering general education in addition to police training.
|  | social service | Services concerned with social protection.
|  | bachelor or equivalent education | Services concerned with bachelor or equivalent education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 6.
|  | master or equivalent education | Services concerned with master or equivalent education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 7.
|  | doctoral or equivalent education | Services concerned with doctoral or equivalent education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 8.
|  | education not elsewhere classified | Services concerned with education not elsewhere classified in ISCED-2011 (International Standard Classification of Education, 2011 revision), referred to as ISCED-2011 level 9.
|  | lower secondary education | Services concerned with lower secondary education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 2.
|  | upper secondary education | Services concerned with upper secondary education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 3.
|  | post-secondary non-tertiary education | Services concerned with post-secondary non-tertiary education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 4.
|  | short-cycle tertiary education | Services concerned with short-cycle tertiary education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 5.
|  | administration for education | Administration offices concerned with educational matters.
|  | medical and diagnostic laboratory | This item comprises establishments primarily engaged in providing analytic or diagnostic services, including body fluid analysis and diagnostic imaging, generally to the medical profession or the patient on referral from a health practitioner.
|  | nursing and convalescent home service | In-patient services to persons recovering from surgery or a debilitating disease or condition that requires chiefly monitoring and administering of medicaments, physiotherapy and training to compensate for loss of function or rest.
|  | administration for social protection | Administration offices concerned with matters of social protection.
|  | subsidiary services to education | Subsidiary services to education, services concerned with transportation, food, lodging, medical and dental care and related subsidiary services chiefly for students regardless of level.
|  | child care service | Services concerned with the day care of children.
|  | charity and counselling | Institutions and services providing benefits in kind and/or counselling for the needy, e.g. people who are unemployed, the socially deprived, disaster victims, victims of assault and abuse, potential suicides, etc.
|  | housing | Services concerned with any home, residence, facility, or premises which provide temporary, interim or permanent housing to various groups of persons.
|  | primary education | Services concerned with primary education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 1.
|  | early childhood education | Services concerned with pre-primary education at ISCED-2011 (International Standard Classification of Education, 2011 revision) level 0.
|  | general medical service | General medical services delivered by general medical clinics and general medical practitioners.
|  | hospital service | Services concerned with hospitalization. Hospitalization is defined as occurring when a patient is accommodated in a hospital for the duration of the treatment. Hospital day-care and home-based hospital treatment are included, as are hospices for terminally ill persons.
|  | specialized service of social protection | Various specialized services concerned with transport, home-, day- and holiday-care for the disabled and people in need of care. Services specifically concerned with education and employment of people with disabilities.
|  | outpatient service | Medical, dental and paramedical services delivered to outpatients by medical, dental and paramedical practitioners and auxiliaries. The services may be delivered at home, in individual or group consulting facilities, dispensaries or the outpatient clinics of hospitals and the like.\nOutpatient services include the medicaments, prostheses, medical appliances and equipment and other health-related products supplied directly to outpatients by medical, dental and paramedical practitioners and auxiliaries.